******

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 632-7840

Website@biddingandawards.pangasinan gov.ph, E-mail address: bacpangasinan@yahoo.com

**INVITATION TO BID**

**for**

**Supply and Delivery of Nine (9) units X-Ray Stationary at Provincial Governor’s Office, Lingayen, Pangasinan (for use of various hospitals)**

Project Identification No.: PANG-2024-01-0006-G

1. The **Provincial Government of Pangasinan**, through the **LBP Loan (PR#2024-01-0020)** intends to apply the sum of **Ninety-Nine Million Pesos (P99,000,000.00)** being the Approved Budget for the Contract (ABC) to payments under the contract for **Supply and Delivery of Nine (9) units X-Ray Stationary at Provincial Governor’s Office, Lingayen, Pangasinan (for use of various hospitals).**

**Specifications:**

Consisting of the following:

UD150L-40E, high frequency inverter type

 • X-ray generator and control

 • 630 Ma: 150 KVP

 • For use on 440 VAC 3PH

 • OR

 • 500 Ma; 150 KVP

 • For use on 220 VAC 1PH

-X-ray tube starter SA-42UD

-X-ray tube assembly 0.6/1.2 p38de-85

 -14 meters high tension cables

-R-20J S-ray collimator system

 -FH-21HR floor to ceiling tube holder with railings

 -BK-12HK four ways floating Bucky Table

-BR – 120M wall Bucky stand

-Power supply voltage protector

 Wireless Portable Flat Pane; Detector for Digital Radiography System

Application: General Radiography

 Technology: Flat Panel Detector: a-So TFT with PIN diode

Scintillator: Cesium Iodide

 Pixels: 2560 x 3072 pixels

**Image size:** 14 x 17 inches (35 x 43cm)

• A/D conversion: 14 bit

• Grayscale: 16384 grayscales

• X-ray voltage range: 40-150kVp

• X-ray generator interface: Line trigger: DR trigger Mode

• Auto trigger: AED Mode

• Wireless standard: IEEE 802.11a/b/g/n (2.4Hz/5GHz) – Dual bandwidth

• Battery performance: 150 images for 4 hours (100 sec. cycle)

• Dimensions: 460 x 384 x 15 mm

• Weight Approx, 3.1 (GOS) / 3.3kg (Csl)

• Operating Environment: 15 - 35°C, 30-85% RH (non-condensing)
• Power: 7.4V 4000mAh Lithium for Polymer Battery

Bids received in excess of the ABC shall be automatically rejected at bid opening.

1. The **Provincial Government of Pangasinan** now invites bids for **Supply and Delivery of Hospital Equipment.** Delivery of the Goods is required Seven (7) Calendar Days. Bidders should have completed from the date of submission and receipt of bids, a contract similar to the project. The description of an eligible bidder is contained in the Bidding Documents, particularly, in Section II. Instruction to Bidders.
2. Bidding will be conducted through open competitive bidding procedures using a non-discretionary “pass/fail” criterion as specified in the 2016 Revised Implementing Rules and Regulation (IRR) of Republic Act (RA) 9184), otherwise known as the “Government Procurement Reform Act”

Bidding is restricted to Filipino citizen/sole proprietorships, partnerships, or organizations with at least sixty percent (60% interest or outstanding capital stock belonging to citizens of the Philippines, and to citizens or organizations of a country the laws or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA 5183.

1. Interested bidders may obtain further information from **Provincial Government of Pangasinan** and inspect the Bidding Documents at the address given below during Bidders **January 6, 2024 – January 25, 2024; 8:00 am to 5:00pm and January 26, 2024; 8:00 am to 10:00am**.
2. A complete set of Bidding Documents may be acquired by interested Bidders during **January 6, 2024 – January 25, 2024; 8:00 am to 5:00pm and January 26, 2024; 8:00 am to 10:00am at the BAC Office, 2nd Floor Malong Building, Lingayen, Pangasinan** and upon payment of the applicable fee for the Bidding Documents, pursuant to the latest Guidelines issued by the GPPB, in the amount of **Fifty Thousand Pesos (P50,000.00)**.

It may also be downloaded free of charge from the website of the Philippine Government Electronic Procurement System (PhilGEPS) and the website of the Procuring Entity, provided that Bidders shall pay the applicable fee for the Bidding Documents not later than the submission of their bids.

1. The **Provincial Government of Pangasinan** will hold a **Pre-Bid Conference** on **January 15, 2024; 2:00 pm** at **Conference Room, 2nd Floor Malong Building, Capitol Compound, Lingayen, Pangasinan**, which shall be open to prospective bidders.
2. Bids must be duly received by the BAC Secretariat at the address below on or before **January 26, 2024; 10:00am**. All bids must be accompanied by a bid security in any of the acceptable forms and in the amount stated in ITB Clause 18

Bid opening shall be on **January 26, 2024; 10:00am** at **Conference Room, 2nd Floor, Malong Building, capitol Compound, Lingayen, Pangasinan**. Bids will be opened in the presence of the bidders’ representatives who choose to attend at the address below. Late bids shall not be accepted.

1. The **Provincial Government of Pangasinan** reserves the right to reject any and all bids, declare a failure of bidding, or not award the contract at any time prior to contract award in accordance with Section 41 of RA 9184 and its IRR, without thereby incurring any liability to the affected bidder or bidders.
2. For further information, please refer to:

**MELICIO F. PATAGUE II**

Provincial Administrator

BAC Chairman

Provincial Administrator

Capitol Building, Capitol Compound

Lingayen, Pangasinan

**MARLON C. OPERAÑA**

Provincial Accountant

BAC Technical Working Group

Provincial Accountant

Finance Building, Capitol Compound

Lingayen, Pangasinan

**ROWENA V. IGNACIO**

OIC – Provincial Planning & Dev’t Office

BAC Secretariat

BAC Office

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

075 6327840

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**MELICIO F. PATAGUE II**

Provincial Administrator

BAC Chairman