PROVINCE OF PANGASINAN

BIDS AND AWARDS COMMITTEE (BAC)

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 542-6918

Website@biddingandawards.pangasinan gov.ph, E-mail address: bacpangasinan@yahoo.com

February 6, 2024

NOTICE OF NEGOTIATED PROCUREMENT

(Small Value Procurement)

## Project 		:	Renovation of Building II

(PR#2024-02-0366)

## Location		: 	Capitol Compound, Lingayen, Pangasinan

Duration 		:	Forty-One (41) Calendar Days

Approved Budget for

the Contract (ABC)	:	P 530,382.00

Approved by:

MELICIO F. PATAGUE II

Provincial Administrator

BAC Chairman

Republic of the Philippines

Province of Pangasinan

BIDS AND AWARDS COMMITTEE (BAC)

2ND Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 632 78

Bill of Quantities

| (Columns (1), (2), (3) and (4) are to be filled up by the Procuring Entity) |  |  | (Columns (5) and (6) are to be filled up by the Bidder) |  |  |
| --- | --- | --- | --- | --- | --- |
| Pay Item | Description | Unit | Quantity | Unit Price (Pesos) | Amount (Pesos) |
| (1) | (2) | (3) | (4) | (5) | (6) |
| 801 | Removal of Structure and Obstruction | lot | 1.00 |  |  |
| 804(4) | Gravel Bedding | cu.m. | 5.88 |  |  |
| 902(1)a | Reinforced Steel Bar | kgs. | 83.03 |  |  |
| 900(1)a | Structural Concrete | cu.m. | 1.17 |  |  |
| 903 | Formworks and Falseworks | sq.m. | 13.71 |  |  |
| 1001(11) | Septic Vault | lot | 1.00 |  |  |
| 1046 | Masonry Works | sq.m | 15.44 |  |  |
| 1027(1) | Cement Plaster Finished | sq.m | 43.48 |  |  |
| 1002(5) | Plumbing Fixtures | lot | 1.00 |  |  |
| 1018 | Tiling Works | sq.m | 30.61 |  |  |
| 1007 | Aluminum Glass Door | sq.m | 4.00 |  |  |
| 1008 | Aluminum Glass Window | sq.m | 1.10 |  |  |
| 1014 | Pre-Painted Long Span Roofing Sheet | sq.m | 5.49 |  |  |
| 1003(1) | Fiber Cement Board on Metal Framing | sq.m | 25.87 |  |  |
| 1003(1)a | Ordinary Plywood on Wood Framing | sq.m | 25.78 |  |  |
| 1043(1) | PVC Door & Frame | sq.m | 4.16 |  |  |
| 1032(1)a | Concrete Painting | sq.m | 143.06 |  |  |
| 1100 | Electrical Works | lot | 1.00 |  |  |
| 1102 | Panel Board | lot | 1.00 |  |  |
| B.5 | Project Billboards | l.s. | 1.00 |  |  |
| B.7 | Construction Health and Safety | l.s. | 1.00 |  |  |
| Total Amount in Words: |  |  |  |  |  |

Submitted By:

_____________________________________________

Name and Signature of Bidder’s Representative

Position : _________________________________________

Name of Bidder: __________________________________

Date: ____________________________________________

Plans / Drawings