******

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

Tel. No. (075) 632-7840

Website@biddingandawards.pangasinan gov.ph, E-mail address: [bacpangasinan@yahoo.com](mailto:bacpangasinan@yahoo.com)

**INVITATION TO BID**

**for**

**Supply and Delivery of One (1) unit Cautery Machine at Dasol Community Hospital, Dasol, Pangasinan**

Project Identification No.: PANG-2024-05-0666-G

1. The **Provincial Government of Pangasinan**, through the **Capital Outlay – Hospital (PR#2024-04-2377)** intends to apply the sum of **One Million Three Hundred Fifty Thousand Pesos (****P1,350,000.00)** being the Approved Budget for the Contract (ABC) to payments under the contract for **Supply and Delivery of One (1) unit Cautery Machine at Dasol Community Hospital, Dasol, Pangasinan.**

Specifications:

* Height: 4.38” (11.1cm)
* Width: 14” (35.6 cm)
* Depth: 17” (43.9 cm)
* Weight: ˂18 lb (˂8.1 kg)
* PER: 98
* Input Power Requirements: The Operating range is 85 to 132 AC volts. The maximum current is 7 amperes in Cut and 4 amperes in Coag.
* High Frequency Leakage

Bipolar: Less than 60 mArms

Monopolar: Less than 150 mArms

* Bipolar

Precise: 470kHz sinusoid

Standard: 470 kHz sinusoid

Macro: 470kHz sinusoid

* Monopolar Cut

Low: 390kHz sinusoid. Similar to the Pure Cut mode except the maximum voltage is limited to lower value

Pure: 390 kHz sinusoid

Blend 390kHz bursts of the sinusoid, recurring at 27kHz intervals. 50% duty cycle envelope.

* Monopolar Coag

Desiccate: 240kHz sinusoid repeated at 39 kHz. 8% duty cycle

Fulgurate: 390kHz damped sinusoid bursts with a repetition frequency of 30 or 57 kHz into 500 ohms

Spray: 390kHz damped sinusoidal bursts with a randomized repetition centered at 28 kHz. Frequencies include 21kHz ˂ f ˂ 35kHz. Output is further modulated by a random 250 Hz envelope with a variable duty cycle. Output power changes by less than 15% or 5 watts, whichever is greater, as the line voltage varies from 104-132 volts and 208-264 volts (at rated load)

Bids received in excess of the ABC shall be automatically rejected at bid opening.

1. The **Provincial Government of Pangasinan** now invites bids for **Supply and Delivery of Cautery Machine.** Delivery of the Goods is required Seven (7) Calendar Days. Bidders should have completed from the date of submission and receipt of bids, a contract similar to the project. The description of an eligible bidder is contained in the Bidding Documents, particularly, in Section II. Instruction to Bidders.
2. Bidding will be conducted through open competitive bidding procedures using a non-discretionary “pass/fail” criterion as specified in the 2016 Revised Implementing Rules and Regulation (IRR) of Republic Act (RA) 9184), otherwise known as the “Government Procurement Reform Act”

Bidding is restricted to Filipino citizen/sole proprietorships, partnerships, or organizations with at least sixty percent (60% interest or outstanding capital stock belonging to citizens of the Philippines, and to citizens or organizations of a country the laws or regulations of which grant similar rights or privileges to Filipino citizens, pursuant to RA 5183.

1. Interested bidders may obtain further information from **Provincial Government of Pangasinan** and inspect the Bidding Documents at the address given below during Bidders **May 29, 2024 – June 18, 2024; 8:00 am to 5:00pm and June 19, 2024; 8:00 am to 10:00am**.
2. A complete set of Bidding Documents may be acquired by interested Bidders **May 29, 2024 – June 18, 2024; 8:00 am to 5:00pm and June 19, 2024; 8:00 am to 10:00am** and upon payment of the applicable fee for the Bidding Documents, pursuant to the latest Guidelines issued by the GPPB, in the amount of **Two Thousand Pesos (P2,000.00)**.

It may also be downloaded free of charge from the website of the Philippine Government Electronic Procurement System (PhilGEPS) and the website of the Procuring Entity, provided that Bidders shall pay the applicable fee for the Bidding Documents not later than the submission of their bids.

1. The **Provincial Government of Pangasinan** will hold a **Pre-Bid Conference** on **June 7, 2024; 10:00 am** at **Conference Room, 2nd Floor Malong Building, Capitol Compound, Lingayen, Pangasinan**, which shall be open to prospective bidders.
2. Bids must be duly received by the BAC Secretariat at the address below on or before **June 19, 2024; 10:00am**. All bids must be accompanied by a bid security in any of the acceptable forms and in the amount stated in ITB Clause 18.

Bid opening shall be on **June 19, 2024; 10:00am** at **Conference Room, 2nd Floor, Malong Building, capitol Compound, Lingayen, Pangasinan**. Bids will be opened in the presence of the bidders’ representatives who choose to attend at the address below. Late bids shall not be accepted.

1. The **Provincial Government of Pangasinan** reserves the right to reject any and all bids, declare a failure of bidding, or not award the contract at any time prior to contract award in accordance with Section 41 of RA 9184 and its IRR, without thereby incurring any liability to the affected bidder or bidders.
2. For further information, please refer to:

**MELICIO F. PATAGUE II**

Provincial Administrator

BAC Chairman

Provincial Administrator

Capitol Building, Capitol Compound

Lingayen, Pangasinan

**MARLON C. OPERAÑA**

Provincial Accountant

BAC Technical Working Group

Provincial Accountant

Finance Building, Capitol Compound

Lingayen, Pangasinan

**RHODYN LUCHINVAR O. ORO**

PDRRM Officer

BAC Secretariat

BAC Office

2nd Floor Malong Building, Capitol Compound

Lingayen, Pangasinan

075 6327840

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**MELICIO F. PATAGUE II**

Provincial Administrator

BAC Chairman